# How to use OPC server

- Register OPC server and OPCDAAuto.dll:   double-click “Register.bat”.

- Must run OPC server manually. Because the OPC server for WinGPC 4.0 can not be launched automatically even though there is one OPC client who is connecting to it.

- How to use the configuration file based on XML format

- Connect to two PLC via one serial port.

<?xml version="1.0"?><DeviceInformation> //XML version and the name of this file(or root node)

<section name="OPCServerInfo">//this section describes the OPC server information.

<setting name="DeviceNumber" value="2"/> // indicate how many devices can be connected to

<setting name="LogFileSize" value="10"/>// indicate how many characters the log file can contain. The unit is MB (1024*1024)

</section>//the end character of the OPC server information

<section name="Device1">// the configuration information of Device 1

<setting name="DriveType" value="WGPCComm"/>

// indicate which driver is used for communication. Now, the OPC server only support //WGPCComm driver. In the future, other driver may be supported, such as the driver for //DeviceNet.

<setting name="DeviceName" value="PLC1"/>// device name.

<setting name="CommunicationProtocol" value = "Serial"/>// use communication protocol to connect this device

<setting name="Port" value="0"/>// Serial port number. The index is based on zero. For example, value 0 means COM1.

<setting name="Baud" value="9600"/>// baud rate for serial communication

<setting name="Rs232Only" value="1"/>

<setting name="CPUID" value="3"/>// CPU ID for PLC

<setting name="LinkOnline" value="0"/>

</section>// the end character of the device 1 information

<section name="Device2">// the configuration information of Device 2

<setting name="DriveType" value="WGPCComm"/>// indicate which driver is used for communication.

<setting name="DeviceName" value="PLC3"/>// device name.

<setting name="CommunicationProtocol" value = "Serial"/>// use communication protocol to connect this device

<setting name="Port" value="0"/>// Serial port number

<setting name="Baud" value="9600"/>// baud rate for serial communication

<setting name="Rs232Only" value="1"/>

<setting name="CPUID" value="3"/>// CPU ID for PLC

<setting name="LinkOnline" value="0"/>

</section>// the end character of the device 2 information

</DeviceInfomation>// the end character of the configuration file information

- Connect two PLC via two serial com port.

<?xml version="1.0"?><DeviceInformation> //XML version and the name of this file(or root node)

<section name="OPCServerInfo">//this section describes the OPC server information.

<setting name="DeviceNumber" value="2"/> // indicate how many devices can be connected to

<setting name="LogFileSize" value="10"/>// indicate how many characters the log file can contain. The unit is MB (1024*1024)

</section>//the end character of the OPC server information

<section name="Device1">// the configuration information of Device 1

<setting name="DriveType" value="WGPCComm"/>

// indicate which driver is used for communication. Now, the OPC server only support //WGPCComm driver. In the future, other driver may be supported, such as the driver for //DeviceNet.

<setting name="DeviceName" value="PLC1"/>// device name.

<setting name="CommunicationProtocol" value = "Serial"/>// use communication protocol to connect this device

<setting name="Port" value="0"/>// Serial port number. The index is based on zero. For example, value 0 means COM1.

<setting name="Baud" value="9600"/>// baud rate for serial communication

<setting name="Rs232Only" value="1"/>

<setting name="CPUID" value="3"/>// CPU ID for PLC

<setting name="LinkOnline" value="0"/>

</section>// the end character of the device 1 information

<section name="Device2">// the configuration information of Device 2

<setting name="DriveType" value="WGPCComm"/>// indicate which driver is used for communication.

<setting name="DeviceName" value="PLC3"/>// device name.

<setting name="CommunicationProtocol" value = "Serial"/>// use communication protocol to connect this device

<setting name="Port" value="1"/>// Serial port number

<setting name="Baud" value="9600"/>// baud rate for serial communication

<setting name="Rs232Only" value="1"/>

<setting name="CPUID" value="3"/>// CPU ID for PLC

<setting name="LinkOnline" value="0"/>

</section>// the end character of the device 2 information

</DeviceInfomation>// the end character of the configuration file information

- If no device is connected to successfully, the OPC server exists automatically.

- There are two log files, which is located in the same directory as the OPC server executable program. The file names are log1_OPC.txt and log2_OPC.txt respectively. Anyone can not open them when the OPC server is running.  The user can view them only when stop the OPC server. If the user re-launched the OPC server, these two files are re-written. It means the previous information is lost.

This is a sample file named “Device.xml” for communicating NX-Series PLC.

<?xml version="1.0"?><DeviceInformation>

<section name="OPCServerInfo">

<setting name="DeviceNumber" value="2"/>

<setting name="LogFileSize" value="1"/>

</section>

<section name="Device1">

<setting name="DriveType" value="WGPCComm"/>

<setting name="DeviceName" value="Device1"/>

<setting name="CommunicationProtocol" value="Serial"/>

<setting name="Port" value="0"/>

<setting name="Baud" value="9600"/>

<setting name="Rs232Only" value="1"/>

<setting name="CPUID" value="255"/>

<setting name="LinkOnline" value="0"/>

</section>

</DeviceInformation>